## Slide 1: Introduction to Plumbing

## Slide 2
Plumbing refers to the laying and repairing of pipes and fixtures for the distribution of water or gas in a building, and for the disposal of sewage.
http://www.nswai.com/aboutnswai.php
http://indiasanitationportal.org/sites/default/files/SLWM_20-08-07.pdf
Here is the definition of plumbing

## Slide 3
............................................
............................................
............................................
.............................................................
..................................
Prevents transmission of disease
Good hygiene
Removal of Dirty Water
Human waste removal
Easier access to water
Can you think of the reasons why we need plumbing?

## Slide 4
A suitable plan for where discharge pipes will go
Planning of pipe layout prior to plumbing
A suitable supply of water
External pipes are Parallel to building
Secure pipes using glue
The important things we must consider when plumbing are:

## Slide 5: Where does the water come from?
A storage tank
GRADIENT
Here water is flowing down
But here water is NOT flowing down as water can not go above gradient line.

## Slide 6: Where does the water go?
Septic Tank

## Slide 7: Where does the water go?
If the tank is not nearby: pipes need to get bigger in diameter as more houses are pumped into the discharge pipe.

## Slide 8
1
2
Answer: Distance 1 and distance 2 must be the same
It is important that the main discharge pipe is parallel to the building. Pipes 1 & 2 should be at right angles to both the main discharge pipe and the building. But should distance 1 and distance 2 be the same?

## Slide 9
Answer = B

## Slide 10
A)
B)
Answer = A

## Slide 11
Answer = C

## Slide 12
How do you secure the pipes?
How do you get water to flow from one place to another?
.....................................................
........................
Water NOT flowing down as water can not go above gradient line.
Water flowing down
GRADIENT
Glue
  Ensure GRADIENT of pipe

## Slide 13: And finally:
............................................
............................................
............................................
.............................................................
..................................
Prevents transmission of disease
Good hygiene
Removal of Dirty Water
Human waste removal
Easier access to water
Why is Plumbing important?
Notes: Rubbish=unwanted or undesired material