## Slide 1: Water Testing

## Slide 2: Presentation Scope
In this presentation you will learn:
  Water testing for drinking

## Slide 3: Aim
To perform water strip test to observe if it is drinkable or not

## Slide 4: Required skills
Collecting water sample
To understand and observe the change in the colour of water
Knowledge of bacteria present in water

## Slide 5: Materials used
H2O strip test bottle
Water sample

## Slide 6: Steps
Take 100 ml water sample in a sterilised bottle
Take sample up to the mark in water strip test bottle
Tightly close the bottle and shake slowly so that the reaction between the sample and strip starts
Keep the bottle for 18-48 hours at 30-37 degree centigrade in a closed room

## Slide 7: Observation and Conclusion
If the water colour becomes black : The water is non-drinkable
If the water colour becomes yellow : The water is drinkable